## Comparision-Sheet
Drone Thermal Imaging Technology - Overview Available Solutions from TeAx Technology
ThermalCapture (TC) Series FLIR Vue series | Short description | TC Fusion Zoom & TC Smart+ | TC Fusion Zoom | TC Fusion | TC IRnet - Ethernet (Storage, Streaming) | TC 2.0 (Storage) | TC Grabber USB (Streaming) | TC MiniAV 160 | FLIR Vue Pro | FLIR Vue Pro R | FLIR Duo | FLIR Duo Pro R | FLIR Boson | FLIR Zenmuse XT
Key Unique Selling Propositions (USP)
Cameras Solution
Dual camera | Thermal sensors + RGB sensor | yes | yes | yes | no ("only" thermal recording, streaming) | no ("only" thermal recording) | no ("only" thermal streaming) | no | no | no | yes | yes | no | no
Zoom functionality | See example data online | yes, 10x optical zoom | yes, 10x optical zoom | no | no | no | no | no | no | no | no | no | no | no
Radiometric thermal data | *) if FLIR core is radiometric | yes | yes | yes | yes | yes | yes | yes * | no | yes | yes (if Duo R) | yes | no (yes: from appr. Q3/2018) | yes (if Zenmuse XT R)
Sensitivity |  | NedT < 60mK f/1.0 NedT < 50mK f/1.0 NedT < 30mK f/1.0 | NedT < 60mK f/1.0 NedT < 50mK f/1.0 NedT < 30mK f/1.0 | NedT < 60mK f/1.0 NedT < 50mK f/1.0 NedT < 30mK f/1.0 | NedT < 60mK f/1.0 NedT < 50mK f/1.0 NedT < 30mK f/1.0 | NedT < 60mK f/1.0 NedT < 50mK f/1.0 NedT < 30mK f/1.0 | NedT < 60mK f/1.0 NedT < 50mK f/1.0 NedT < 30mK f/1.0 | NedT < 50mK f/1.0 | NedT < 60mK f/1.0 | NedT < 60mK f/1.0 | NedT < 50mK f/1.0 | NedT < 60mK f/1.0 NedT < 50mK f/1.0 NedT < 30mK f/1.0 | NedT < 50mK f/1.0 | NedT < 60mK f/1.0
Recording vs. Streaming |  | Recording (SD card); Streaming (USB, Ethernet) | Recording (SD card) | Recording (microSD card) | storing: microSD card Streaming: Ethernet/IP | Recording (microSD card) | Streaming (via USB) | Streaming (via UART on request) | Recording (microSD card) | Recording (microSD card) | Recording (microSD card) | Recording (2x SD card) | Streaming (USB) | Recording (microSD card)
Resolution | in pixel (px) | Thermal: 640 x 512 RGB: 1080p, 10x zoom | Thermal: 640 x 512 RGB: 1080p, 10x zoom | Thermal: 640 x 512 RGB: 1600 x 1200 | Thermal: 640 x 512 336 x 256 | Thermal: 640 x 512 336 x 256 | Thermal: 640 x 512 336 x 256 | Thermal: 160 x 120 | Thermal: 640 x 512 336 x 256 | Thermal: 640 x 512 336 x 256 | Thermal: 160 x 120 RGB: 1080p | Thermal: 640 x 512 RGB: 4000 x 3000 | Thermal: 336 x 256 | Thermal: 640 x 512 336 x 256
Weight | > 50g (super-leight) > 100g (light) > 300g (normal) | normal (lightest dual camera with its specs in the market) | normal (lightest dual camera with its specs in the market) | normal (lightest dual camera with its specs in the market) | light (lightest solution in the market) | light (lightest solution in the market) | light (lightest solution in the market) | super-light (lightest thermal camera in the market) | light | light | light | light | light | normal
OEM version | Is that product available as OEM version as well (* only for resellers of TeAx Technology) | yes * | yes * | yes * | yes * | yes | yes | yes * | no | no | no | no | no | no
IP Code, International Protection Marking | Is there an IP graded version available? (* yes, on request to TeAx Technology) | yes * | yes * | yes * | yes * | yes * | yes * | yes * | no | no | no | no | no | no
Processing / Computing
Onboard computing power | NVIDIA Jetson TK1 (could be X1 too) | yes | no | no | possible | no | possible | no | no | no | no | no | no | no
In-Flight real-time processing |  | yes | no | no | possible | no | possible | no | no | no | no | no | no | no
Software development kit (SDK) |  | yes | no | no | yes | no | yes | no | no | no | no |  | no | no
Post-Processing | Is post-processing possible at all? | yes | yes | yes | yes | yes | Yes (contact TeAx) | Yes (contact TeAx) | yes | yes | yes | yes | yes | yes
Post-Processing | Free ThermoViewer (marked with *) and Flir Tools/Tools+ | yes * | yes * | yes * | yes | yes * | no (due to streaming) | no (due to streaming) | yes | yes | yes | yes | yes | yes
Radiometric post-processing | Compatible with Icaros OneButton / Pro, Pix4D, Agisoft Photoscan | yes | yes | yes | yes | yes | no (due to streaming) | no (due to streaming) | no | no | no | no | no | no
Real-Time Network Streaming |  | yes | no | no | yes | no | no | no | no | no | no | no | no | no
After Sales
New features on request | Specific development for hard- and software | yes | yes | yes | yes | yes | yes | yes | no | no | no | no | no | no
Special system integration | There are special requirements on the system you will deploy it? | yes | yes | yes | yes | yes | yes | yes | no | no | no | no | no | no
Special adoptations on system | The solution needs to be modified (hardware and/or software) before deploying on system? | yes | yes | yes | yes | yes | yes | yes | no | no | no | no | no | no
Free personal support | phone, skype, video conference | yes | yes | yes | yes | yes | yes | yes | no | no | no | no | no | no
TeAx Services
Data analyses & post-processing |  | yes | yes | yes | yes | yes | yes | yes | no | no | no | no | no | no
Key Tags
General Features
Analog video | Receive analog live video output during operation | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Multiple color palettes |  | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Field‐upgradable firmware |  | yes | yes | yes | yes | yes | not yet | yes | yes | yes | yes | yes | yes | yes
Spotmeter |  | yes | yes | yes | yes | yes | yes | no (due to Lepton 3) | yes | yes | no (due to Lepton 3) | yes | yes | yes
Remotely start/stop recording |  | yes | yes | yes | yes | yes | yes | no (due to streaming) | yes | yes | yes | yes | yes | yes
Isotherms |  | yes | yes | yes | yes | yes | yes | no (due to Lepton 3) | no | no | no (due to Lepton 3) | yes | no | no
Wide field of view lenses |  | yes | yes | yes | yes | yes | yes | no (due to Lepton 3) | yes | yes | no (due to Lepton 3) | yes | yes | yes
Narrow field of view lenses |  | yes | yes | yes | yes | yes | yes | no (due to Lepton 3) | no | no | no (due to Lepton 3) | yes | yes | no
Special Features
Auto correction for FFC event | Further background information here. | possible | yes | yes | yes | yes | possible | no (due to Lepton 3) | no | no | no | no | no | no
Non uniformity correction (NUC) | Correction of Non-Uniformities in measurements due to external influences | possible | yes | yes | yes | yes | possible
Hotspot highlighting |  | yes | yes | yes | yes | yes | yes | no (due to Lepton 3) | no | no | no | yes | no | no
Boot time < 10s |  | no (due to Linux system) | yes | yes | yes | yes | yes | yes | no | no | no | no | no | no
S‐BUS support | Control the solution via S-BUS | yes | yes | yes | yes | yes | yes | no (due to Lepton 3) | no | no | no | no | no | no
Power from (up to) 8S LiPo battery | Voltage converter cable is included | yes | yes | yes | yes | yes | yes | no | no | no | no | yes | no | no
Recording / Streaming
Record/Stream 14‐bit data |  | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Record/Stream 14‐bit data with full framerate |  | yes | yes | yes | yes | yes | yes | yes | no | no | no | no | no (yes from appr. Q3/2018) | no
Record radiometric data |  | yes | yes | yes | yes | yes | yes | no (yes, in 2018) | no | yes | yes (if Duo R) | yes | no (yes from appr. Q3/2018) | yes * (if Zenmuse XT R)
Per pixel temperature measurements | Per pixel temperature measurement in post-processing | yes | yes | yes | yes | yes | yes | no (yes, in 2018) | no | yes | yes (if Duo R) | yes | no (yes from appr. Q3/2018) | yes * (if Zenmuse XT R)
Aligned sensor data recording | For multi-sensor solutions (RGB / thermal): Are both sensor data aligned and strored in only one file? | yes | yes | yes | yes | no (no multi-sensor) | no (no multi-sensor) | no (no multi-sensor) | no (no multi-sensor) | no (no multi-sensor) | no | yes | no (no multi-sensor) | no (no multi-sensor)
Fast (30Hz) vs slow (9Hz) | Stores (or streams) 14-bit radiometric thermal data at full framerate with 30Hz | not yet (soon available) | not yet (soon available) | not yet (soon available) | yes | yes | yes | no (due to Lepton 3) | Yes, but (contact TeAx) | Yes, but (contact TeAx) | no (due to Lepton 3) | yes (for non-radiometric data) | yes | Yes, but (contact TeAx)
Interfaces
Remotely controlable via PWM |  | yes | yes | yes | no | yes | no | no | yes | yes | yes | yes | yes | yes
Remotely controlable via SBUS |  | yes | yes | yes | no | yes | no | no | no | no | no | no | no | no
Geo-location via Mavlink |  | yes | yes | yes | yes | yes | no | no | yes | yes | yes | yes | no | no
Geo‐location via NMEA |  | yes | yes | yes | yes | yes | no | no | no | no | no | no | no | no
Universal serial data input | Add custom data to ThermalCapture recordings | yes | yes | yes | yes | yes | no | no | no | no | no | no | no | no
Expansion Ports | Contact TeAx for special request | yes | yes | yes | yes | yes | yes | no | no | no | no | no | no | no
Sensitivity
NEdT < 60mK at f/1.0 | Commercial grade (C-grade) | yes | yes | yes | yes | yes | yes | no (due to Lepton 3) | yes | yes | no (due to Lepton 3) | yes | not yet | yes
NEdT < 50mK at f/1.0 | Performance grade (P-grade) | yes | yes | yes | yes | yes | yes | yes | no | no | no | no | yes | no
NEdT < 30mK at f/1.0 | Industrial grade (I-grade) | yes | yes | yes | yes | yes | yes | no (due to Lepton 3) | no | no | no (due to Lepton 3) | no | not yet | no
Physical specifications
Size | first row = mm second row = inch *) without lens ¦ **) without core | 110 x 100 x 20 4.33 x 3.94 x 0.79 | 83 x 71 x 46 3.27 x 2.79 x 1.8 | 61 x 30 x 56 2.4 x 1.18 x 2.2 | 50 x 50 x 80 2 x 2 x 3.2 | 45 x 45 x 60 1.7 x 1.7 x 2.3 | 46 x 42 x 15**) 1.8 x 1.6 x 0.6 | 32 x 20 x 11 1.2 x 0.79 x 0.4 | 57.4 x 44.4 2.26 x 1.75 | 57.4 x 44.4 2.26 x 1.75 | 41 x 59 x 29.6 1.61 x 2.32 x 1.17 | 87 x 82 x 69 3.43 x 3.23 x 2.72 | 21 x 21 x 11 *) 0.83 x 0.83 x 0.43 | 103 x 74 x 102 4.06 x 2.91 x 4.02
Weight | first row = gram second row = lbs | 520 1.15 | 310 0.68 | 130 0.28 | 165 0.36 | 95 0.21 | 25 **) 0.05 | 5 0.01 | 113.4 0.25 | 113.4 0.25 | 84 0.19 | 325 0.72 | 7.5 *) 0.017 | 275 0.61
Qualitiy assurance
CE marking |  | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Documentation available | marked with *, a comprehensive documentation is available | yes * | yes * | yes * | yes | yes * | yes * | yes * | yes | yes | yes | yes | yes | yes